## Sheet1
technology | parameter | value_2030 | unit | source
pv | capex | 340000 | EUR/MW_el | https://ens.dk/en/analyses-and-statistics/technology-catalogues
pv | - hereof converter | 30000 | EUR/MW | https://ens.dk/en/analyses-and-statistics/technology-catalogues
pv | - hereof pv modules | 140000 | EUR/MW | https://ens.dk/en/analyses-and-statistics/technology-catalogues
pv | - hereof installation | 100000 | EUR/MW | https://ens.dk/en/analyses-and-statistics/technology-catalogues
pv | - hereof other, i.e. residual balance of plant | 40000 | EUR/MW | https://ens.dk/en/analyses-and-statistics/technology-catalogues
pv | - hereof soft costs | 30000 | EUR/MW | https://ens.dk/en/analyses-and-statistics/technology-catalogues
pv | FOM | 13400 | EUR/MW/yr | https://ens.dk/en/analyses-and-statistics/technology-catalogues
pv | - hereof land costs | 3900 | EUR/MW/yr | https://ens.dk/en/analyses-and-statistics/technology-catalogues
pv | VOM | 0 | EUR/MWh | https://ens.dk/en/analyses-and-statistics/technology-catalogues
pv | efficiency | 0.9 |  | https://www.sciencedirect.com/science/article/pii/S0360544216311744?via%3Dihub
pv | lifetime | 25 | years | https://www.energysage.com/equipment/20eb7b31-37d9-4f83-985f-36bd0439cab6/
pv | discount_rate
on_wind | capex | 1113052.2415 | EUR/MW | https://ens.dk/en/analyses-and-statistics/technology-catalogues
on_wind | - hereof equipment | 828104.471 | EUR/MW
on_wind | - hereof internal grid costs | 17078.1
on_wind | - hereof installation/development | 85787.7223 | EUR/MW
on_wind | - hereof purchase of neighbour settlements | 71124.2454 | EUR/MW
on_wind | - hereof land purchase/rent | 110957.7028 | EUR/MW
on_wind | FOM | 16662.668 | EUR/MW/yr | https://ens.dk/en/analyses-and-statistics/technology-catalogues
on_wind | VOM | 1.9752 | EUR/MWh | https://ens.dk/en/analyses-and-statistics/technology-catalogues
on_wind | lifetime | 30 | years | https://ens.dk/en/analyses-and-statistics/technology-catalogues
off_wind | capex | 1800000 | $/MW_el | https://ens.dk/en/analyses-and-statistics/technology-catalogues
off_wind | FOM | 39000 | $/MW/yr | https://ens.dk/en/analyses-and-statistics/technology-catalogues
off_wind | VOM | 3.89 | EUR/MWh | https://ens.dk/en/analyses-and-statistics/technology-catalogues
off_wind | lifetime | 30 | years | https://ens.dk/en/analyses-and-statistics/technology-catalogues
off_wind | discount_rate
grid | capex | 53000 | $/MW_el | https://www.mitnetz-strom.de/stromanschluss/Industrie-undGewerbekunden/entgelte-netzanschluss-in-niederspannung
grid | FOM |  | $/MW/yr | https://tennet-drupal.s3.eu-central-1.amazonaws.com/default/2024-12/24-12-16_TTG_Netzentgelte_fuer_2025_0.pdf
grid | VOM | 120 | EUR/MWh | https://www.zfk.de/energie/strom/ppa-markt-wohin-geht-die-reise-brainpool
grid | discount_rate
grid | lifetime
battery | capex | 485851.1334 | EUR/MW | https://data.nrel.gov/submissions/145
battery | FOM | 574.236 | EUR/MW/year | https://ens.dk/en/analyses-and-statistics/technology-catalogues
battery | VOM | 1.9141 | EUR/MWh | https://ens.dk/en/analyses-and-statistics/technology-catalogues
battery | max_hours | 4 | h | Assumption
battery | efficiency_store | 0.97 | per unit | https://ens.dk/en/analyses-and-statistics/technology-catalogues
battery | efficiency_dispatch | 0.97 | per unit | https://ens.dk/en/analyses-and-statistics/technology-catalogues
battery | standing_loss | 4.1667e-05 | per unit | https://ens.dk/en/analyses-and-statistics/technology-catalogues
battery | lifetime | 15 | years | https://ens.dk/en/analyses-and-statistics/technology-catalogues
battery | discount_rate
electrolyser_PEM | p_nom_extendable | True | MW_input_e
electrolyser_PEM | Hydrogen Output | 19.749 | kg_H2 / MWh input_e | https://ens.dk/en/analyses-and-statistics/technology-catalogues
electrolyser_PEM | Electricity consumption Stack Level | 50.6355 | kWh/kg_H2
electrolyser_PEM | Electricity consumption Stack Level + BOP | 56.9249 | kWh/kg_H2
electrolyser_PEM | Water consumption ultrapure water | 9 | l per kg H2 | https://hydrogentechworld.com/water-treatment-for-green-hydrogen-what-you-need-to-know
electrolyser_PEM | efficiency | 0.58 | per unit | https://ens.dk/en/analyses-and-statistics/technology-catalogues
electrolyser_PEM | lifetime | 25
electrolyser_PEM | min_up_time | 0.1 | number of snapshots to get from to 100%, | https://www.sciencedirect.com/science/article/pii/S0360319923000459
electrolyser_PEM | capex | 950000 | EUR/MW_input_e | https://ens.dk/en/analyses-and-statistics/technology-catalogues
electrolyser_PEM | - hereof electrolyser stack | 225.1776 | EUR/kW_input_e
electrolyser_PEM | - hereof electrolyser system | 327.5991 | EUR/kW_input_e
electrolyser_PEM | - hereof BOP | 135.9608 | EUR/kW_input_e
electrolyser_PEM | - hereof Control System | 80.4584 | EUR/kW_input_e
electrolyser_PEM | - hereof Civil Infrastructure | 35.8888 | EUR/kW_input_e
electrolyser_PEM | - hereof Indirects | 144.9153 | EUR/kW_input_e
electrolyser_PEM | FOM | 19000 | EUR/MW | https://ens.dk/en/analyses-and-statistics/technology-catalogues
electrolyser_PEM | VOM | 0.33949 | EUR/MWh_input | Water costs
electrolyser_PEM | Water Cost | 0.00191 | €/l | https://www.verivox.de/strom-gas/ratgeber/wasserkosten-berechnen-und-sparen-1000796/
electrolyser_PEM | discount_rate
compressor | capex | 87698.7699 | EUR/MW_H2 | https://doi.org/10.1038/s41598-021-92511-6
compressor | VOM
compressor | FOM | 3507.9508 | 4%, EUR/MW_H2
compressor | lifetime | 25
compressor | efficiency | 0.95
compressor | discount_rate
hydrogen_storage | capex | 16894.4442 | EUR/MWh_H2 | https://ens.dk/en/analyses-and-statistics/technology-catalogues
hydrogen_storage | VOM | 0 |  | https://ens.dk/en/analyses-and-statistics/technology-catalogues
hydrogen_storage | FOM | 168.9444 | 1%, EUR/MWh_H2 | https://www.sciencedirect.com/science/article/pii/S0360319920335928?ref=pdf_download&fr=RR-2&rr=9057e0c03e494db8
hydrogen_storage | lifetime | 25 | years | https://ens.dk/en/analyses-and-statistics/technology-catalogues
hydrogen_storage | discount_rate
hydrogen_storage | Pressure | 250 | Bar | https://arxiv.org/pdf/2005.03464
hydrogen_storage | Temperature | 298 | K | https://arxiv.org/pdf/2005.03464
hydrogen_storage | volumetric density | 17.856 | kg/m3 | https://cmb.tech/hydrogen-tools
hydrogen_storage | storage hydraulic volume | 100 | m3 | https://www.landkreis-mittelsachsen.de/fileadmin/user_upload/Wasserstoff/HZwo_HyExperts_Factsheet_H2-Speicherung.pdf
hydrogen_storage | storage capacity per unit | 1785.6 | kg | Calculation
hydrogen_storage | Filling rate | 250 | kg/h | Assumption
hydrogen_storage | max_hours | 7.1424 | h | Own calculation
hydrogen_storage | minimum filling level | 0.06 | per unit | https://arxiv.org/pdf/2005.03464
hydrogen_storage | efficiency_store | 0.99 | per unit | https://www.sciencedirect.com/science/article/pii/S0360319920335928?ref=pdf_download&fr=RR-2&rr=9057e0c03e494db8
hydrogen_storage | efficiency_dispatch | 0.99 | per unit | https://www.sciencedirect.com/science/article/pii/S0360319920335928?ref=pdf_download&fr=RR-2&rr=9057e0c03e494db8
Note on E33: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 4h battery
Note on B49: only accounted if unit commitment possible and unit commitment only possible if p_nom is not extendable
Note on E67: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Also see grid connected Nguyen… Reply: Type1 200bar Reply: Also: HYPERLINK "https://www.sciencedirect.com/science/article/pii/S0360319920335928?ref=pdf_download&fr=RR-2&rr=9057e0c03e494db8" https://www.sciencedirect.com/science/article/pii/S0360319920335928?ref=pdf_download&fr=RR-2&rr=9057e0c03e494db8

## Sheet2
capex | Capital Expenditure / Investment costs
FOM | Fixed operative mantainance costs
VOM | Variable operative mantainance costs
lifetime | Lifetime of technology
wacc | Weighted Average Cost of Capital
efficiency | Ratio between primary energy and electrical energy
Note on A1: Fixed period costs of extending p_nom by 1 MW, including periodized investment costs and periodic fixed O&M costs (e.g. annuitized investment costs).